## Slide 1
24-Month Residency Curriculum Roadmap
The schedule is structured, but flexible enough to capture real clinical opportunities
YEAR 1
YEAR 2
1
Orientation • Radiation safety • ethics • TX incidents
2–3
Clinical observations including patient consults • 4D Sim • VMAT • IMRT/VMAT QA
4–6
Detectors • monthly linac QA • CT sim QA
7–8
Treatment planning with CMD and Physics• TPS Competencies. • plan checks • Plan review with MD
9–10
SRS/SBRT • respiratory motion
11–12
Consults/OTV with second MD • acceptance testing • annual QA with 1 physicist
13–15
TPS beam modeling/commissioning • end-to-end tests • TPS QA • CT Simulator commissioning
16
Imaging • implanted devices • imaging QA
17–19
HDR/brachytherapy • LDR prostate seed implants • radiopharmaceutical therapy
20–21
FMEA • APEx • MDH/NRC/APEx regulations
22–24
Shielding • radiobiology • Clinical checks • TBI/TSET/IORT review (UMN)• elective/research
Mock Oral Exam 1 → end of Year 1
Mock Oral Exam 2 → end of Year 2
Source: MRO Self-Study, pp. 43–44 and 20–21.